## ЗИП к тестерам и зондовым
Производитель | Марка/модель | Описание
ЗИП для тестеров микросхем
Advantest | T33xx | Extender Boards
| T3320 | VLSI Tester-Parts Machine
| T3323, T3323 | Various Spares
| T3326 | Various Spares
| T5335P, T5335 | Various Spares
| T5335P | Diagnostic Board
| T5335, T5382 | Mother Boards/Performance Boards
| T3340, 3343 | Various Spares
| T5361 | Various Spares
| T5365 | Test Fixtures Spares
| T5365 | Various Parts and Spares
| T5381 | Various Spares
| T3382 | Various Spares
| T5382 | Parts Machine
| T5581 | Extender Boards
| T5581H | Various Spares
| T5581P | Various Spares
| T5581, T5585, T5586, T5592 | Various Spares
| T6672 | Various Parts and Spares
| 93000 Pinscale | Pinscale
HP / Agilent / Verigy | 4062 | Various Spares
| 4062B | No Test Head
| 82000 | Various Spares and Parts for HP 82000 (D-100, D-200, D-400)
| 83000 | Various Spares
| 83000 | Analog Options
| 83000 F330T | Pogo Tower Part Number E2803AB
| 83000 | Various Spares
| 84000 | A120T RF Spares Tester
| 84000 | Various Spares
| 93000 Pinscale | E8001-66492 AC/DC
| 93000 | Analog Spares
| 93000 | Parts Machine
| 93000 | Various Spares for 93000
| 93000 | RF Option with Calibration Kit
| 93000 | NP2500 Channel Card E6993AC including the following boards: E6996-66401, E6996-66423, E6996-86543, E6997-66404
| 93000 | Calibration Kit
| 93000 | E9701-61051 Low Noise DPS
| 93000 | E6991A AMC Power Supply
| 93000 | E6993-61622 Cable Assembly
| 93000 | E6996-61101 Cooling Manifold
| 93000 PSeries | E6996-66501 Interface Module
| 93000 PSeries | E6996-86543 Channel Module
| 93000 PSeries | E6997-66403 Memory Module
| 93000 | E7944-61110 Cooling Manifold
| 93000 | NSIT Cal Spares
| 93000 | Docking Plate/Hardware
| 93000 | Power Conditioner Model CDR451
| 93000 | Pogo Tower
| 93000 | UHC4 E8013-61652
| 93000 | UHC4 Cable E8000DS
| 93000 | DPS32 (E8013CS) E8013-68511 and E8013-66611
| 93000 | DPS32 Cable E8013-61604
| 93000 | MSDPS E9711-69502
| 93000 | PS400 Pin Electronics E8012A
| 93000 Pin Scale | HXA Boards
| 93000 Pin Scale | E8010A PS3600 Card
| 93000 | MCC E9722-66501
| 93000 | RF Option RFF (3), RFE (2), N2390-60100 and N2391-60100
| 93000 | DPS32 E8013-66401
| 93000 | PS400 Channel Card E8012A, E8012-66402
| 9495 | Test Head Spares
| 94000 | Various Spares
| 94000 | Various Spares
| 95000 | Various Spares
| E2759E | HP 83000 Liquid/Cooling Unit/ Chillers
| E2759D | HP 83000 Liquid/Cooling Unit/ Chillers
| E2760D | HP 83000 Liquid/liquid Cooling Unit
| E2760D | Liquid/liquid Cooling Unit
| E2760DA | HP 83000/93000 Liquid/liquid Cooling Unit
| E2843A | Power Switching Unit for HP 83000t
| E3160-66522 | Fiber Optic Card for HP/Agilent 4072 Parametric Test System
| E7085 | Chiller
| V4400 | Various Parts and Spares
| V4400 | Various Spares
Teradyne | Catalyst | Various Spares
| Catalyst | AWG5000 939-214-50
| Catalyst | AWG5000 939-214-51
| Catalyst | Giga Dig 939-227-50
| Flex | Various Spares
| Ultra Flex | Pogo Tower
| Ultra Flex | HEXVS 974-294-00
| Ultra Flex | BBAC 974-214-01
| Ultra Flex | HSD-M 974-331-44
| Ultra Flex | Filler Boards 579-229-00
| MicroFlex | Various Spares
| MicroFlex | BBAC 805-004-02
| MicroFlex | VHFAC 805-245-50
| MicroFlex | Pool-2 805-333-50
| MicroFlex | Filler Board 949-974-50
| A311 | Various Spares
| A312 | Various Spares
| A360 | Various Spares
| A550 | Various Spares
| A570 | Various Spares
| A570 | Various Spares
| A580 | Various Spares
| A585 | Prober Docking Hardware
| J273 | Various Spares
| J386 | Various Spares
| J387 | Various Spares
| J750 | 239-014-02 MTO Option
| J750 | Prober Docking Station
| J921 | Various Spares
| J937 | Various Spares
| J971 | Various Spares
| J973 | Various Spares
| J994 | Various Spares
| J995 | Various Spares
| J996 | Various Spares
| J997 | Various Spares
| Tiger | System & Spares
| J750 | HSD100/16M 239-026-03
| J750 | MTO 239-014-02
Credence | ASL1K | 980022-116 CAL DUT TYPE 17-116
| ASL1K/3K | 671-4678-02 DVI DIFF 300MA
| ASL1K/3K | 671-4678-02 DVI DIFF 300MA
| ASL1K/3K | 671-4678-40 DVI DIFF 300MA
| ASL1K/3K | 671-5351-00 Mux Low Voltage,ASL1K
| ASL1K/3K | 671-5351-02 Mux Low Voltage,ASL1K
| ASL1K/3K | 671-3032-01 OVI 30MA
| ASL1K/3K | 671-3032-36 OVI 30MA
| ASL1K/3K | 671-3032-85 OVI 30MA
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL1K/3K | 671-5333-01 TMU
| ASL3K | 122-1016-26 ASL3K PSU
| ASL3K | 672-6145-03 AVD
| ASL3K | 672-6142-05 AWG
| ASL3K | 119-8612-00 CABLE,5FT SENSOR CABLE
| ASL3K | 672-6135-04 CLK4
| ASL3K | 119-8648-00 Giga-Tronics 8651A Universal Power Meter
| ASL3K | 119-8648-00 Giga-Tronics 8651A Universal Power Meter
| ASL3K | 119-8611-00 PWR SENSOR,+20 TO -70DBM,18GHZ
| ASL3K | 119-8922-00 SMATE, DUAL SOURCE, 6GHZ, RACK MNT
| ASL3K | 119-8922-00 SMATE, DUAL SOURCE, 6GHZ, RACK MNT
| ASL3K | 119-8921-00 SMATE, SINGLE SOURCE, 6GHZ, RACK MNT
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152005-11 6ADPS
| Sapphire | 96152147-27 D4064 16G
| Sapphire | 96152147-27 D4064 16G
| Sapphire | 96152147-27 D4064 16G
| Sapphire | 96152007-66 QBIX
| Sapphire | 97173109-02 SYSTEM MONITOR,SM PCB TO INST
| Sapphire | 97173109-02 SYSTEM MONITOR,SM PCB TO INST
| Sapphire | 97173109-02 SYSTEM MONITOR,SM PCB TO INST
| ASL 1000 | Spares / Replacement Boards (ASL 1K, 3K & 3K-RF)
| ASL 3000 & ASL 3000RF | Spares / Replacement Boards (ASL 1K, 3K & 3K-RF)
| Cal Station | Credence Calibration Station for Credence Quartet and Credence Duo'
| Duo | Spares
| Duo | Parts Machine
| IMS | Spares
| LT1101 | Various Spares
| M3650 | Various Spares
| Octet | Spares
| Quartet | Spares
| SC212 | Various Spares
| Vista | Standard Station
| Vista | Standard Station
| Vista Vision | Spares
| 500D | Various Spares
| LSI-5XP | Various Spares
| 142 A | Various Spares
| 9300 | Various Spares
| 9800 | Various Spares
| 330 | Various Spares
| 730 | Various Spares
| 10K | E Beam Spares
| S475 | Various Spares
| CX/MX/EX | 874-0014-00 GPIB HIGH PERFORMANCE INTERFACE W/NI-488.2 SOFTWARE
| CX | 974-0300-14 N VECTOR BRICK 16 PORT (RF16C-RS)
| CX | 974-0300-14 N VECTOR BRICK 16 PORT (RF16C-RS)
| CX | 974-0265-00 3U DC POWER SUPPLY UNIT
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 875-0680-00 9.6 KVA POWER COND.,200V-240V IN, 208V O
| CX | 974-0269-02 AC Distr Box CX Test Systems
| CX | 858-1232-00 Blade 2500 Silver Single tower including PCI cards
| CX | 858-1232-00 Blade 2500 Silver Single tower including PCI cards
| CX | 858-1232-00 Blade 2500 Silver Single tower including PCI cards
| CX | 858-1232-00 Blade 2500 Silver Single tower including PCI cards
| CX | 858-1232-00 Blade 2500 Silver Single tower including PCI cards
| CX | 858-1232-00 Blade 2500 Silver Single tower including PCI cards
| CX | 974-0195-02 CX RF DIAG KIT RND 22SMA WITH RFMSA
| CX | 974-0219-00 DD AC CAL LOADBOARD
| CX | 974-0217-01 DP, 16 PINS 33/66 (FEDEX)
| CX | 974-0217-01 DP, 16 PINS 33/66 (FEDEX)
| CX | 974-0120-00 DSP MEASURE 12/25 (FUSION CX)
| CX | 974-0120-00 DSP MEASURE 12/25 (FUSION CX)
| CX | 974-0120-00 DSP MEASURE 12/25 (FUSION CX)
| CX | 974-0120-00 DSP MEASURE 12/25 (FUSION CX)
| CX | 974-0120-00 DSP MEASURE 12/25 (FUSION CX)
| CX | 974-0218-02 FRU, DD SEQUENCER
| CX | 858-1378-00 FUSION CX LINUX WORKSTATION INSTALL
| CX | 858-1378-00 FUSION CX LINUX WORKSTATION INSTALL
| CX | 858-1378-00 FUSION CX LINUX WORKSTATION INSTALL
| CX | 858-1378-00 FUSION CX LINUX WORKSTATION INSTALL
| CX | 974-0300-14 N VECTOR BRICK 16 PORT (RF16C-RS)
| CX | 974-0300-14 N VECTOR BRICK 16 PORT (RF16C-RS)
| CX | 974-0300-12 N VECTOR BRICK 8 PORT (RF16C-RS)
| CX | 974-0300-12 N VECTOR BRICK 8 PORT (RF16C-RS)
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-0242-00 OEM DD HIGH VOLTAGE PIN CARD
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-1004-03 PCA, HSB DIGITIZER
| CX | 974-0210-00 RFMSP LOADBOARD
| CX | 974-0210-00 RFMSP LOADBOARD
| CX | 974-0209-00 RFSCR LOADBOARD (FUSION CX)
| CX | 974-0209-01 RFSRC LOADBOARD WITH NOISE FIGURE
| CX | 974-0209-01 RFSRC LOADBOARD WITH NOISE FIGURE
| CX | 974-0213-00 RFSTD-A LOADBOARD
| CX | 974-0213-00 RFSTD-A LOADBOARD
| CX | 974-0213-00 RFSTD-A LOADBOARD
| CX | 974-0213-00 RFSTD-A LOADBOARD
| CX | 974-0213-00 RFSTD-A LOADBOARD
| CX | 974-0213-00 RFSTD-A LOADBOARD
| CX | 974-0162-00 STEP BUS ADAPTER (FUSION CX)
| CX | 974-0162-00 STEP BUS ADAPTER (FUSION CX)
| CX | 974-0162-00 STEP BUS ADAPTER (FUSION CX)
| CX | 974-0250-01 WSS2A HIGH SPEED DUAL WF SYNTHESIZER
| CX | 974-0250-01 WSS2A HIGH SPEED DUAL WF SYNTHESIZER
| CX | 974-0250-01 WSS2A HIGH SPEED DUAL WF SYNTHESIZER
| CX | 974-0250-01 WSS2A HIGH SPEED DUAL WF SYNTHESIZER
| CX | 974-0250-01 WSS2A HIGH SPEED DUAL WF SYNTHESIZER
| CX | 974-0250-01 WSS2A HIGH SPEED DUAL WF SYNTHESIZER
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| CX/MX/EX | 858-1435-00 LINUX WORKSTATION, "X" CONFIG, DUAL BOOT
| EX | 858-1331-00 LINUX DELL390 WORKSTATION
| EX | 858-1307-00 MCA, EX UHIB INSTALL
| EX | 858-1307-00 MCA, EX UHIB INSTALL
| EX/MX/DX | 858-1307-00 Fusion UHIB For EX/MX/DX
| EX/MX/DX | 858-1307-00 QFVI power supply
| EX/MX/DX | 858-1307-00 QFVI power supply
| EX/MX/DX | 858-1307-00 QFVI power supply
| EX/MX/DX | 858-1307-00 QFVI power supply
| MX | 893-1224-01 CCA, QFVI MX RAIL/CONTROL HARNESS 19'
| MX | 893-1224-01 CCA, QFVI MX RAIL/CONTROL HARNESS 19'
| MX | 974-1009-00 FAC FX1 CARD
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1157-00 FRU HS-B DUAL SWG 16-BIT/250MSPS
| MX | 974-1018-00 FVLB WIRE DIAG
| MX | 974-1018-00 FVLB WIRE DIAG
| MX | 974-1018-00 FVLB WIRE DIAG
| MX | 974-1018-00 FVLB WIRE DIAG
| MX | 974-1018-00 FVLB WIRE DIAG
| MX | 974-1012-00 FX1 TMBD W/REFCLK
| MX | 974-1017-00 FXTPCAL2
| MX | 974-1017-00 FXTPCAL2
| MX | 974-1017-00 FXTPCAL2
| MX | 974-1017-00 FXTPCAL2
| MX | 974-1017-00 FXTPCAL2
| MX | 974-1014-01 HCOVI
| MX | 974-1014-01 HCOVI
| MX | 974-1014-01 HCOVI
| MX | 974-1014-01 HCOVI
| MX | 956-0227-00 PCA STEPCABLE BUS INTERFACE BOARD
| MX | 956-0227-00 PCA STEPCABLE BUS INTERFACE BOARD
| MX | 876-0149-00 PWR SUPPLY 2U 48V 2700W 50A
| MX | 875-0734-00 PWR.COND 21.6KVA 190/480V INPUT 120/208V OUTPUT
| MX | 875-0734-01 PWR.COND 21.6KVA, W/2 BREAKERS,190/480V IN
| MX | 974-1073-04 QFVI
| MX | 974-1073-04 QFVI
| MX | 974-1073-04 QFVI
| MX | 974-1046-00 SSBA W/ SBII TERMINATOR BOARD
| MX | 974-1010-00 TMBD FX1 CARD
| MX | 974-1010-00 TMBD FX1 CARD
| MX | 974-1010-00 TMBD FX1 CARD
| PAX | 974-1253-00 HSIO
| PAX | 672-7767-31 PCA: XVI MULTIPLE ASSEMBLY
| PAX | 672-7767-31 PCA: XVI MULTIPLE ASSEMBLY
| PAX | 974-1329-01 RF POWER ADAPTOR
| RF16 | 875-0800-00 LR: SMA100 6GHZ 2U RF SIGNAL GENERATOR W
| RF16 | 875-0800-00 LR: SMA100 6GHZ 2U RF SIGNAL GENERATOR W
| RF16 | 875-0800-00 LR: SMA100 6GHZ 2U RF SIGNAL GENERATOR W
| RF16 | 875-0800-00 LR: SMA100 6GHZ 2U RF SIGNAL GENERATOR W
ЗИП для зондовых станций
Cascade Prober | DCM 200 Series | Precision Positioner
KLA | 1007 | Various Prober Spares
KLA | 1011 | Various Prober Spares
KLA | 1011ACE | Various Prober Spares
Tel | P-8 | Various Spares
Tel | P-8XL | Various Spares
TSK | APM90 | Software Upgrade
TSK | APM90A | Various Spares
TSK | APM90A | Microscope Mounts and Olympus SZ40 Scopes
TSK | Manipulator | For HP 4062
TSK | UF 200 | Various Spares
TSK | Manipulator | MHF600S for use with TSK UF200
TSK | Manipulator | MHF6000 for use with TSK UF3000
TSK | Manipulator | MHF4000 for use with TSK UF3000

## Тестеры микросхем
Производитель | Марка/модель | Описание
Тестеры микросхем (ATE systems)
Advantest | T2000 | Soc Test System
| T2000 | Test Head Part Machine
| T3324 | VLSI Tester Parts Machine
| T3324 | VLSI Tester Parts Machine
| T3326 | VLSI Tester
| T3347 | VLSI Tester Parts Machine
| T5335P | Memory Tester
| T5335 | Memory Tester -Parts Machine
| T5335 | Memory Tester
| T5365P | Memory Tester-Parts Machine
| T5371 | Memory Tester
| T5381 | Memory Tester
| T5581H | Memory Tester
| T5382A | Memory Tester
| T6683 | SOC Test System
HP / Agilent / Verigy | PS800 (PS3600) | SOC Tester
| 93000 PS3600 | Mixed Signal Tester
| 93000 P1000 | Mixed Signal Tester
| 93000 C400e | Mixed Signal Tester
| 93000 C400e | Mixed Signal Tester
| 93000 P600 | Mixed Signal Tester
| 4062UX | Parametric Tester Parts Machine
| 4062UX | Parametric Tester
| 82000 | D100 VLSI Tester 100 Mhz 96 pins
| 82000 | D200 VLSI Tester 200 Mhz up to 240 pins
| 82000 | D100 VLSI Tester 100 Mhz 176 pins
| 82000 | D100 w/APG option, 128 pins
| 83000 | VLSI Tester
| 83000 | E2811, 256 pins
| 83000 F120T | VLSI Tester 48 pins
| 83000 F330T | VLSI Tester 224 pins
| 83000 660I | VLSI Tester 96 Pins
| 83000 F330T | VLSI Tester 80 Mhz 400 pins
| 83000 F330T | VLSI Tester 120 Mhz 480 pins
| 83000 F330T | VLSI Tester 330 Mhz 224 Pins/1 Meg
| 83000 F330T | VLSI Tester 120 Mhz 336 pins 1 Meg
| 83000 F330T | VLSI Tester 120 Mhz 256 pins 4 Meg
| 84000 A120T | A120T RF Spares Tester
| 94000 | Spare Parts Machine
| 94000XL-IP | Mixed Signal Tester
| 94000XL-IP | Mixed Signal Tester
Teradyne | Catalyst | D200 Test System with 384 Pins
| Catalyst-RF | Parts Machine
| Flex | Tester
| Microflex | Parts Tester
| UltraFlex | Tester
| A567 | Mixed Signal Test System
| A575 | Parts Machine
| A575 | Parts Machine
| A585 | Parts Machine
| J750 | Digital Test System
| J937 | Memory Test System, 50 MHZ Mem Tester
| J937 | Memory Test System, 100 MHZ
| J971 | VLSI Logic Test System, 100 Mhz
| J993 | Memory Test System
| J995 | Memory Test System
| J997 | Memory Test System
| Tiger | System & Spares
Credence | ASL 3000RF | RF Test System
| Duo | Mixed Signal Tester
| Duo | Mixed Signal Tester
| Duo XP | Mixed Signal Tester
| Duo XP | Mixed Signal Tester
| Duo SX | Mixed Signal Tester
| Duo SX | Mixed Signal Tester
| LT1000 | Mixed Signal Tester
| LT1001 | Mixed Signal Tester
| Octet 200 | Mixed Signal Tester
| Cal Station | Credence Calibration Station for Credence Quartet and Credence Duo's
| Quartet | Mixed Signal Tester
| Quartet | Mixed Signal Tester
| Vista Vision | Mixed Signal Tester

## Зондовые станции
Производитель | Марка/модель | Описание
Зондовые станции (probe stations)
Electroglas | 2001 | Various Configurations
Electroglas | 2080 | Various Configurations
Electrolas | 4080 | Various Configurations
Electroglas | 4085 | Various Configurations
KLA | 1011 | Wafer Prober
KLA | 1007 | Wafer Prober
Semics | OPUS 2 | Wafer Prober
TEL | P8E | Wafer Prober
TEL | P8 LC | Wafer Prober
TEL | P8 | Wafer Prober
TEL | P8 | Wafer Prober
TEL | P8XL | Wafer Prober
TEL | P8XL | Wafer Prober
TEL | P8XL | Wafer Prober
TEL | P8XL | Wafer Prober
TEL | P8XL | Wafer Prober
TEL | P8XL | Wafer Prober
TEL | P12XL | Wafer Prober
TEL | P12XLn | Wafer Prober
TEL | P12XLn+ | Wafer Prober
TEL | 20 SR | 6 inch Auto Wafer Prober
TSK | APM 90A | Various configurations
TSK | FP200A | Wafer Prober
TSK | UF200 | Various configurations
TSK | Manipulator | MHF600S for use with TSK UF200
TSK | Manipulator | MHF6000 for use with TSK UF3000
TSK | Manipulator | MHF4000 for use with TSK UF3000
TEL | Precio Octo | Wafer Prober 200mm

## КИП (измерительные приборы)
Производитель | Марка/модель | Описание
Контрольно-измерительные приборы (КИП)
Aeroflex | Comstron FS1000 | Dual Synthesizer
Agilent | E5100A | Network Analyzer
Agilent | E1411B | VXI Multi Meter
Agilent | E2960A | Serial Protocal Tester XC for PCI Express
Agilent | E5810A | LAN/GPIB Gateway
Anritsu | ML2438A | Dual Input Power Meter
Gigatronics | 8652A | Power Meter
Elgar | AT8000 | Power Supply
HP | E1085a | HP 3070 Communication Tester VXI Chassis
HP | E1095a | LCU -Line Conditioning Unit
HP | E1095-66501 | LCU -Line Conditioning Unit
HP | E1095-66510 | PCA Terminal Block
HP | E1466-66201 | Cross Point Switch
HP | E1406A | Command Module
HP | E1430A | 10msa ADC filter
HP | E1445A | Arbitrary Function Generator
HP | E1485A | Signal Processor and FIFO
HP | E1490B | Breadboard W/O Interface
HP | E1401B | High Power Mainframe
HP | E1419A | Multifunctional Card
HP | E1433A | Digitizer
HP | E1433B | Digitizer
HP | E1438A | Digitizer
HP | E1441A | Waveform Generator
HP | E1482B | VXI Bus Extender
HP | E1488A | Memory Module
HP | 3458A | Mutlimeter
HP | 3488A | HP-IB Switch Control Unit
HP | 3499A | Switch/Control Mainframe 5 Slot
HP | 4084 | Switching Matrix
HP | 4085A | Switch Matrix for HP4062UX
HP | 4085B | Switch Matrix for HP4062UX
HP | 4086A | Switching Matrix
HP | 4087A | Switching Matrix
HP | 4142B | Modular DC Source Monitor
HP | 41420A | Source Monitor Unit / Module
HP | 41421B | Source Monitor Unit
HP | 41424A | Source Monitor Unit
HP | 41425A | Analog Feedback Unit
HP | 4156B | Parameter Analyzer
HP | 4194A | Impedance Fain- Phase Analyzer
HP | 4284A | LCR Meter
HP | 4432B | Series Signal Generator
HP | E4425B | 3Ghz Signal Generator
HP | 5314A | Universal Counter
HP | 54100A | Digital Oscilloscope
HP | 54502A | Digital Oscilloscope
HP | 59303A | Digital to Analog Converter
HP | 59401A | Bus Analyzer
HP | 6023A | Power Supply
HP | 6625A | DC Power Supply
HP | 6626A | DC Power Supply
HP | 6627A | Power Supply
HP | 6624A | DC Power Supply
HP | 6552A | DC Power Supply
HP | 6572A | DC Power Supply
HP | 8110A | 150 mhz Pulse Generator
HP | 8566B | Microwave Spectrum Analayzer
HP-Agilent | 8753ES | Network Analyzer
HP | E8491B | Controller Interface
IWATSU | TS8123 | Storage Scope
Kinetic Systems | 400145-3-1 | Vibraplane Table
Lecroy | LC584 | AL Oscilloscope
National Instruments | GPIB-120A | Bus Expander/Isolator
PTS | 310 | Frequency Synthesizer
PTS | x10 | Frequency Synthesizer
PTS | 500 | Frequency Synthesizer
PTS | 620 | Frequency Synthesizer
Racal | 1260-22 | 40 Channel Hi Current Switch
Sorensen | DCS40 | Power Supply
Stanford Research | PS325 | High Voltage Power Supply
Tektronik | TLA7N4 | Logic Anlayzer Module
Tektronix 601A | DSA 601A | Digitizing Signal Analyzer
Tektronix | 11801B | Digital Sample Oscilloscope
Tektronix | 520A | NTSC Vectorscope
Wavecrest | DTS 2075 | Digital Time Scope
Wavecrest | DTS 2077 | Digital Time Scope